ATTACH TO VALVE, FDC

READ INSTRUCTIONS ON OTHER SIDE

SPRINKLER VALVE

SHUT

After valve is opened, make 50-mm (2-in.) drain test.  Drop in pressure should be normal. If pressure drop is extreme and does not build up, the system is impaired and immediate investigation is necessary.

DRAIN TEST RESULTS

Before Impairment:

- Notify Fire Department

- Notify Building owner/Supervisors

- Shut down Hazardous Operations (Hot Work)

- No Smoking

- Portable Fire Extinguisher(s) Ready

During Impairment:

THIS VALVE CONTROLS SPRINKLERS IN BUILDING(S):

- Work Exclusively on Impairment Project

- No Smoking in Building

- No Unrelated Cutting or Welding(Hot Work)

- Check if Fire Watch Required

D DATE:

ATE:

SHUT BY (SIGNATURE):                DATE:

After Impairment:

- Perform Main Drain Test

- Notify Fire department

- Notify Building Owner/ Supervisors

- Remove Tag

STATIC PRESSURE 	          FLOWING PRESSURE

bar (psi)                               bar (psi)

Bar (psi)

DRAIN TEST MADE BY              DATE:

(SIGNATURE)

DATE:

FRONT						BACK