LAFAYETTE WATER QUALITY  ANALYSIS

March 6, 2019


Total Ammonia





0.30 mg/L


Free Ammonia





0.10 mg/L


pH







7.3


Alkalinity






231 mg/L as CaCO3


Temperature






15.0 o C



Fluoride






0.91 mg/L



Orthophosphate





0.89 mg/L



Total phosphate





1.1 mg/L



Chloramines (combine)



           1.03 mg/L


Calcium






175 mg/L as CaCO3


Lead







below detectable levels



Nitrates






0.006 mg/L


Iron







0.161 mg/L



Manganese






0.427 mg/L


Magnesium






115 mg/L CaCO3


Total Chlorine





 1.2 mg/L


Sulfates






55.42 mg/L



Conductivity






698 (m HOS/cm



Total bacteria





0 


Total hardness





290 mg/L as CaCO3




Grains of hardness





17 grains per gallon


